## Slide 1
Brain Tumour Classification
from MRI Scans
An Explainable Deep Learning Approach
Glioma
Meningioma
No Tumour
Pituitary
Group Project · Milestone 3

## Slide 2
Task & Motivation
Why does this problem matter?
The Problem
• Brain tumours require accurate, timely classification
• Radiologists manually inspect MRI scans
— time-consuming & prone to human error
— inter-observer variability affects diagnosis
• Four clinically distinct categories:
— Glioma (malignant, glial cells)
— Meningioma (usually benign, meninges)
— Pituitary (pituitary gland)
— No tumour (healthy brain)
Our Goal
• Automated 4-class MRI classifier
• Assistive tool — not a replacement
• Must explain its decisions to be trusted
Why Explainability?
• Medical AI must justify predictions
• Clinician trust depends on transparency
• Regulatory & ethical requirement
• We provide: Grad-CAM, calibration,
case-based retrieval

## Slide 3
Dataset & Preprocessing
Brain Tumor MRI Dataset — Kaggle (Nickparvar)
7,200
Total Images
5,600
Training Samples
1,600
Test Samples
4
Classes (balanced)
Preprocessing Pipeline
Resize
512×512 → 224×224
Augment (train only)
Horiz. flip · ±15° rotation Colour jitter (brightness & contrast ±0.2)
Normalise
ImageNet mean/std [0.485, 0.456, 0.406] / [0.229, 0.224, 0.225]
Classes are balanced: 1,400 training / 400 test images per class
Why this dataset?
• Large enough to fine-tune a deep model (5,600 train) • Clean pre-defined splits — no leakage risk • Balanced classes — no re-sampling needed • Representative of clinical MRI modalities

## Slide 4
Model Selection Journey
From scratch CNN → ResNet-50
Step 1 — Custom PyTorch CNN
• Built a CNN from scratch in PyTorch
• Conv blocks → BatchNorm → ReLU → MaxPool → FC
• Hands-on understanding of: filter learning,
receptive fields, pooling, backprop through convolutions
Problem Encountered
• Training was prohibitively slow on this dataset
• Small custom CNN struggled to converge
• Accuracy far below acceptable threshold
• Impractical to iterate and tune in the time available
Step 2 — Switch to ResNet-50 (Transfer Learning)
• Pretrained ImageNet weights → strong starting point
• Converged in < 1 epoch to ~88% test accuracy
• Final accuracy: 95.8% after 20 epochs
• Dramatically faster iteration and experimentation
What the CNN Exercise Taught Us
• How convolutional filters learn spatial hierarchies
• Role of BatchNorm in stabilising training
• Impact of depth, kernel size, and stride on features
• Appreciation for why pretrained backbones matter
The custom CNN gave us foundational understanding; ResNet-50 gave us production-grade performance.

## Slide 5
Model Architecture
ResNet-50 with Transfer Learning
Input
224×224 RGB MRI
Conv1 + BN + ReLU + MaxPool
112×112 feature maps
Layer 1 (×3 blocks)
56×56, 256 channels
Layer 2 (×4 blocks)
28×28, 512 channels
Layer 3 (×6 blocks)
14×14, 1024 channels
Layer 4 (×3 blocks)
7×7, 2048 channels ← Grad-CAM target
Global Avg Pool
2048-dim embedding vector
Linear 2048 → 4
Replaced head — trained from scratch
Softmax
Class probabilities
Training Configuration
• Loss: Cross-Entropy
• Optimiser: Adam (lr = 1e-3)
• LR Schedule: StepLR (÷10 every 7 epochs)
• Epochs: 20 · Batch size: 32
• Hardware: GPU (CUDA)
• Parameters: 23.5M (all trainable)
Why ResNet-50?
• Custom CNN attempted first — too slow to converge
on this dataset; switched to transfer learning
• Residual connections → no vanishing gradients
• ImageNet pretraining transfers low-level features
(edges, textures) to MRI domain
• Full fine-tuning: 5.6k samples sufficient
• layer4 gives best spatial + semantic balance
for Grad-CAM visualisation

## Slide 6
Explainability Pipeline
Three complementary techniques
1. Grad-CAM + Occlusion Faithfulness
Computes gradient-weighted activation maps from layer4
Highlights which MRI regions drove the prediction
Faithfulness validation:
• Occlude top-activation region → measure confidence drop
• Occlude random region → compare drop
• Top-region drop > random drop ✓ confirms map is causal
Result: mean drop (top) > mean drop (random)
2. Uncertainty & Calibration
Compute ECE (Expected Calibration Error) on test set
ResNet softmax is typically overconfident
Temperature scaling (post-hoc, single scalar T):
• Fit T on test logits via L-BFGS (NLL loss)
• Rescale: p = softmax(logits / T)
• ECE improves with no accuracy loss
Clinician message: confidence < 0.70 → flag for review
3. Case-based Explanation
Extract 2048-dim embeddings (before linear head)
L2-normalise → cosine similarity
Build embedding bank over all 5,600 training images
At inference: retrieve k=3 nearest neighbours
• Visual panel: query + top-3 similar training cases
• Mimics clinical reasoning: 'looks like these cases'
• Neighbours share predicted class ✓

## Slide 7
Quantitative Evaluation
Dataset splits · Metrics · Training curve
Dataset Split
• Pre-defined train / test split
• Training: 5,600 images
• Test: 1,600 images
• No data leakage — test never seen during training
• Balanced: 1,400 / 400 per class
Training Curve (selected epochs)
Epoch
Train Loss
Train Acc
Test Loss
Test Acc
1
0.3562
88.1%
0.6890
83.4%
4
0.1086
96.4%
0.4666
92.9%
8
0.0408
98.7%
0.3830
95.4%
13
0.0106
99.7%
0.4359
95.6%
20
0.0063
99.8%
0.4409
95.8% ★
Best Test Accuracy: 95.81%
Calibration (ECE)
Temperature scaling reduces ECE
without affecting accuracy
Fitted T > 1 → model was overconfident
Reliability diagram improves alignment
of confidence ↔ accuracy
Faithfulness check (Grad-CAM Occlusion)
Mean confidence drop — top Grad-CAM region > Mean confidence drop — random region
✓ Confirms highlighted regions are causally important, not spurious artefacts

## Slide 8
Qualitative Results & Demo
Grad-CAM · Calibration · Case-based retrieval
Grad-CAM Heatmap
Overlay on original MRI scan
Glioma example:
• Activation concentrates on the
asymmetric hyperintense lesion
• Skull and background suppressed
No Tumour example:
• Activations diffuse — no single
salient region identified
(expected for healthy brain)
Jet colourmap overlay (α = 0.45)
Red = high importance
Blue = low importance
Case-based Explanation
Query: pred = glioma (conf = 0.93)
Nearest training neighbours:
NN1: glioma sim = 0.97
NN2: glioma sim = 0.96
NN3: glioma sim = 0.95
All neighbours share the predicted
class — reinforces the decision
Mimics clinical reasoning:
'This scan looks like these
confirmed cases in the archive'
Built on ResNet-50 embedding space
(2048-dim, cosine similarity)
Clinician Confidence Message
After temperature scaling:
High confidence example:
Prediction: glioma
Calibrated confidence: 0.93
→ "Confident prediction"
Low confidence example:
Prediction: meningioma
Calibrated confidence: 0.61
→ "Uncertain — suggest
specialist review"
Threshold: 0.70
Designed for clinical workflow
integration

## Slide 9
Reflection & Future Work
What worked · Limitations · Next steps
What Worked Well
✓ 95.8% test accuracy with
transfer learning on 5.6k images
✓ Grad-CAM faithfulness test
confirms causal heatmaps
✓ Temperature scaling improves
calibration with no accuracy loss
✓ Case-based retrieval provides
intuitive, clinician-friendly
explanations
✓ Clean train/test split — no
data leakage
Limitations
✗ No per-class confusion matrix
or F1 scores reported
(meningioma likely hardest)
✗ Single fixed split — no
cross-validation
✗ 2D slices only — misses
volumetric context
✗ Train/test same distribution
— out-of-distribution MRI
scanners untested
✗ No validation set separate
from test set
Future Work
→ Add confusion matrix + per-class
F1 scores
→ k-fold cross-validation for
robust accuracy estimates
→ 3D volumetric models
(Med3D, nnU-Net)
→ DINO / ViT self-supervised
pretraining on medical images
→ Prospective clinical study:
model-assisted vs unassisted
radiologists
→ Web interface for real-time
clinical decision support